## Slide 2: LECTURE13:
Second Semester 2024/2025
Eng. Asma’ shara’b PTUK

## Slide 3
Eng. Asma’ shara’b PTUK
Forward/Reverse 3-phase Motor Operation

## Slide 4
Eng. Asma’ shara’b PTUK
To change the direction a three phase motor rotation, two of its phases needs to be exchanged, thus changing the phase sequence form, say ABC to CBA.
This can be accomplished by using two contactors, one for the forward or CW rotation and one for the reverse or CCW rotation.
How can direction of rotation of 3 phase motor reversed ?

## Slide 5
Eng. Asma’ shara’b PTUK
KM1
KM2
Power Circuit

## Slide 6
Eng. Asma’ shara’b PTUK

## Slide 7
Eng. Asma’ shara’b PTUK
The Interlock
1. Electrical interlock .
2. Mechanical interlock .
The forward and reverse contactors are mechanically interlocked i.e., if one of them is closed the other cannot close. This is done to avoid dead short circuit in case both the contactors closing simultaneously.
Also electrical interlocking could be provided using the contactors control contacts.

## Slide 8
Eng. Asma’ shara’b PTUK
The Interlock
Electrical interlock
Mechanical interlock

## Slide 9
Eng. Asma’ shara’b PTUK
Control Circuit
Exercise 1 :

## Slide 10
Practical exercises
Exercise 1
Exercise 2

## Slide 11
Eng. Asma’ shara’b PTUK
By Using 3positin selector SW
S1(3 Position Selector Switch)
1 Start Forward
2 Stop
3 Start Reverse
Exercise 2 :
Control Circuit